## LSL Inventory
Lead Service Line Inventory Template
ELKHART SYSTEM ID 1070150 date 8/18/2025 TOTAL SERVICES 219 TOTAL LEAD 0 TOTAL NON--LEAD 219 TOTAL UNKNOWN 7 GALV REQUIRING REPLACEMENT 0
Service Address | Is this a high-risk Facility or Area? | Service Line Newly Identified Since Last Submitted Inventory | Year PWS-Owned Service Line was Installed | Year Customer Side Service Line was Installed | Source of Information Used for Service Line Identification | Gooseneck/ Pigtail | PWS-Owned Service Line Material | Customer Side Service Line Material | Was Galvanized Service Line Material ever downstream of Lead? | Date Customer Notified of Lead Service Line | Was a Lead Service Line Previously Replaced at this Location? | Date Lead Service Line Replaced | Material of Service Line Replacement | Has the customer refused access to the property? | Date of customer waiver or IDPH notification, if customer refused access to property | sample site requested
| EXAMPLES: | Yes (Y) or No (N) | What year was the PWS-Owned service line installed, if known? | What year was the customer side service line installed, if known? | How was the Material of this Service Line Identified? EXAMPLES: Construction Records, Visual Inspections, Survey Response, Maintenance Records, etc... | EXAMPLES: | EXAMPLES: | EXAMPLES: | If any galvanized service line material was ever downstream of a Lead section, mark Yes (Y). If the galvanized service line material was never downstream of any Lead section, mark No (N). / If Yes, that section of service line should be marked as Galvanized Requiring Replacement in the appropriate immediately preceding column(s). | Enter date customer was notified of Lead Service Line. / If Service Line is not Lead put N/R | Yes (Y) or No (N) | If previous column was marked (Y), provide date the Lead Service Line was replaced. / Leave blank if previous column was (N). | EXAMPLES: | Yes (Y) or No (N) | IF customer refused access to property, date waiver obtained by PWS or date PWS notified IDPH of refusal to sign waiver. / Leave blank if customer has not refused access.
| Group Homes, Parks, Playgrounds, Special Care Facilities, Hospitals, Clinics, Child Care Facilities |  |  |  |  | Copper - No Lead Solder (C) | Copper - No Lead Solder (C) | Copper - No Lead Solder (C) |  |  |  |  | Copper - No Lead Solder (C)
[6 empty] | Copper - Lead Solder (CLS) | Copper - Lead Solder (CLS) | Copper - Lead Solder (CLS)
[6 empty] | Galvanized (G) | Galvanized (G) | Galvanized (G) |  |  |  |  | Galvanized (G)
[6 empty] | Lead (L) | Galvanized Requiring Replacemnt (GRR) | Galvanized Requiring Replacemnt (GRR) |  |  |  |  | Plastic - PVC, HDPE, PEX (P)
[6 empty] | Cast/Ductile Iron or Transite (O) | Lead (L) | Lead (L) |  |  |  |  | Cast/Ductile Iron or Transite (O)
| Yes (Y) or No (N) |  |  |  |  | Plastic - PVC, HDPE, PEX (P) | Cast/Ductile Iron or Transite (O) | Cast/Ductile Iron or Transite (O) |  |  |  |  | Leave blank if no Lead Service Line was replaced.
[6 empty] | Unknown (U) | Plastic - PVC, HDPE, PEX (P) | Plastic - PVC, HDPE, PEX (P)
[6 empty] | Unknown Not Lead (UNL) | Unknown (U) | Unknown (U)
[7 empty] | Unknown Not Lead (UNL) | Unknown Not Lead (UNL)
EXAMPLE- 123 Main Street, Citytown, 61234 | N | N | 2023 | 2023 | Maintenance Records | C | P | P | N | 2020-04-01 | Y | 2023-02-10 | C
EXAMPLE- 456 Left Street, Citytown, 61234 | Y | N | 1995 | 1995 | Construction Records | G | P | P | N | N/R | N
EXAMPLE- 789 Right Street, Citytown, 61234 | N | N | 1990 | 1990 | Historical Records | UNL | UNL | UNL | N | N/R | N
EXAMPLE- 101 Middle Road, Citytown, 61234 | N | N | Unknown | Unknown |  | U | U | U |  | N/R | N
650 600 AVE | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | g | N | n/r | N
654 600TH AVE | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
206 s gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
419 s gillit st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
417 s gilliet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
420 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
410 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | unl | N | n/r | N
408 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
405 s gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
400 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
401 s gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
313 s gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
316 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
309 s gillet | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
312 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N |  |  |  |  | LEAD SAMPLE SITE
306 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
301 s gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
300 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
216 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
215 s gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
210 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
204 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
209 s gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
200 e stahl st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
203 s gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
116 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
113 s gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
104 s bogardus | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | u | N | n/r | N
109 s gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
102 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N |  |  |  |  | LEAD SAMPLE SITE
105 s gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
101 s gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
104 n bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
221 n gov oglesby st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
107 n gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
113 n gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
106 n bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
119 n gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
221 e bohan st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
300 n bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | u | N | n/r | N
9 elizabeth court | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
206 s shockey st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
201 e bohan st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
207 n gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
208 n bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
212 n bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
209 n gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
213 n gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
216 n bogardus | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
220 n bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
217 n gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
300 n gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
305 n gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
304 n bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
310 n bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | g | N | n/r | N
311 n gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | g | N | n/r | N
312 n bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
317 n gillet st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
1 n greenwood ln | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
313 n bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
110 n allison st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
309 n bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
308 n latham st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
305 n bogardus | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
304 n latham st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
301 n bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
221 n bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | g | N | n/r | N
100 n taylor st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | g | N | n/r | N
220 n latham st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
216 n latham st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
213 n bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
209 n bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
205 n bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
208 n latham st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
121 n bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
100 e bohan st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | g | N | n/r | N
120 n latham st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
117 n bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
116 n latham st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
107 n bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
112 n gov oglesby st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | g | N | n/r | N
101 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
103 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
105 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
114 s latham st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
105 s stahl st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
101 s stahl st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
107 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
104 s stahl st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
100 e stahl st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
203 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
205 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
208 s latham st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
209 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | g | N | n/r | N
304 s latham st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
308 s latham st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
309 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
317 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
401 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
408 s latham st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
419 s bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
416 s latham st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
101 s brennan st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
516 s latham st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
105 n bogardus st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
120 n gov oglesby st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
115 n gov oglesby st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
111 n gov oglesby st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | unl | N | n/r | N
111 n 1/2 gov oglesby st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | unl | N | n/r | N
105 n gov oglesby st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
103 n gov oglesby st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
101 n gov oglesby st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
104 n gov oglesby st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
120 old rt 66 | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
100 n service rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
200 n service rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
101 n kennedy rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | g | N | n/r | N
100 n buttel st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | g | N | n/r | N
105 n kennedy rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
109 n kennedy rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
104 buttell | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
108 buttell st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
113 kennedy rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
115 n kennedy rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
116 n buttel st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
117 n buttel st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
113 n buttel st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
204 n stellar st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
109 buttel st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
105 n buttel st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
104 n lanterman st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
101 n buttel st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
101 n lanterman st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
303 n davis st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
206 n stellar st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
103 n lanterman st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
101 n stellar st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
1 n elizabeth ct | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
18 n elizabeth ct | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
17 n elizabeth ct | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
16 n elizabeth ct | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
15 n elizabeth ct | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
13 n elizabeth ct | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
12 n elizabeth ct | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
11 n elizabeth ct | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
8 n elizabeth ct | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
7 n elizabeth ct | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
6 n elizabeth ct | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
5 n elizabeth ct | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
4 n elizabeth ct | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
3 n elizabeth ct | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
2 n elizabeth ct | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
301 n kennedy rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
305 n kennedy rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
313 s bogardus | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | unl | N | n/r | N
330 n kennedy rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
320 n kennedy rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
316 n kennedy rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
312 n kennedy rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
308 n kennedy rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
304 n kennedy rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
300 n kennedy rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
228 n kennedy rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
226 n kennedy rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
110 n kennedy rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
204 n kennedy rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
216 n gillett st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
220 n gillett st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
300 n ward dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
304 n ward dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
308 n ward dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
312 n ward dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
316 n ward dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
320 n ward dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
324 n ward dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
328 n ward dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
332 n ward dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
334 n ward dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
6 n chapel rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
331 n ward dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
323 n ward dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
4 n chapel dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N |  |  |  |  | LEAD SAMPLE SITE
319 n ward dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
315 n ward dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
3 n chapel dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N |  |  |  |  | LEAD SAMPLE SITE
2 n chapel dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N |  |  |  |  | LEAD SAMPLE SITE
311 n ward dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
1 n chapel dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
205 n kennedy rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
105 n stellar st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
1 governors dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
7 n governors dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
8 n governors dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
2 n governors dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
9 n governors dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
6 n governors dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
14 n elizabeth dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
710 n frontage dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
10 n governors dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
207 n kennedy rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
662 n 600th ave | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | unl | N | n/r | N
5 n governors dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
207 n prairie point dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
4 n edwards trace | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
410 n blue stem dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
5 n edwards trace | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
11 n governors dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
12 n governors dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
13 governors dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
104 1/2 east stahl st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
414 blue stem dr | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
676 500th ave | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
po box 108 | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | unl | N | n/r | N
777 600th ave | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | unl | N | n/r | N
1006 n jefferson | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
566 grable st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | c | N | n/r | N
100 governor oglesby st | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N
209 n kennedy rd | N | N | UNKNOWN | UNKNOWN | survey/visual inspections | c | c | p | N | n/r | N